## Monitor Setup
Postition | Name | Used/Not Used | Sample Integration Time
A | Formaldehyde | No | 1
B | Carbon dioxide | No | 1
C | Sulphur Hexaflouride | Yes | 1
D | Freon 134a | No | 1
E | Methane | No | 1
W | Water Vapour | No | 1
Compensate for Water vapour interference |  | Yes
Compensate for Cross interference |  | No
Flushing Mode | Auto | Yes
Flushing Mode | Fixed | No
Tube Length |  | 8 | m
Chamber | Flushing time | 8 | sec
Tube | Flushing time | 3 | sec
Rolling Average Enabled |  | No
Rolling Average Value

## Channel 1 Measurement Data
Channel 1 Measurement Data | Measurement Location : Location1
Date & Time | A: Formaldehyde(ppm) | B: Carbon dioxide(ppm) | C: Sulphur Hexaflouride(ppm) | D: Freon 134a(ppm) | E: Methane(ppm) | W: Water Vapour(Tdew) | P : Pressure (mbar) | FilterAAlignmentErrorFlag | FilterBAlignmentErrorFlag | FilterCAlignmentErrorFlag | FilterDAlignmentErrorFlag | FilterEAlignmentErrorFlag | FilterWAlignmentErrorFlag | AirFlag | ErrorFlag | WarningFlag | MuxErrorFlag | MuxWarningFlag | MuxErrorNumber | MuxWarningNumber | User Event | Flags
2021-01-28 10:10 |  |  | 0.028513 |  |  |  | 1018.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:11 |  |  | 0.015623 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:11 |  |  | 0.0175 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:12 |  |  | 0.022978 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:12 |  |  | 0.013435 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:13 |  |  | 0.023808 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:14 |  |  | 0.026209 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:14 |  |  | 0.024784 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:15 |  |  | 0.02168 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:15 |  |  | 0.021196 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:16 |  |  | 0.018613 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:16 |  |  | 0.02489 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:17 |  |  | 0.015534 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:18 |  |  | 0.023432 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:18 |  |  | 0.01904 |  |  |  | 1019 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:19 |  |  | 0.022818 |  |  |  | 1019 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:19 |  |  | 0.020147 |  |  |  | 1019 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:20 |  |  | 0.028855 |  |  |  | 1019 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:21 |  |  | 0.056047 |  |  |  | 1019 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:21 |  |  | 0.075163 |  |  |  | 1019 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:22 |  |  | 0.067839 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:22 |  |  | 0.079201 |  |  |  | 1019 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:23 |  |  | 0.06525 |  |  |  | 1018.5 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:24 |  |  | 0.13564 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:25 |  |  | 0.14109 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:25 |  |  | 0.11448 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:26 |  |  | 0.2388 |  |  |  | 1019 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:26 |  |  | 0.66864 |  |  |  | 1019 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:27 |  |  | 0.55952 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:27 |  |  | 0.59952 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:28 |  |  | 0.46523 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:29 |  |  | 0.51899 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:29 |  |  | 0.44389 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:30 |  |  | 0.6639 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:30 |  |  | 0.60132 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:31 |  |  | 0.60443 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:32 |  |  | 0.71913 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:32 |  |  | 0.68195 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:33 |  |  | 0.95024 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:33 |  |  | 0.86974 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:34 |  |  | 0.95739 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:34 |  |  | 0.7886 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:35 |  |  | 0.95843 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:36 |  |  | 1.0082 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:36 |  |  | 0.99481 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:37 |  |  | 0.97174 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:37 |  |  | 0.98251 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:38 |  |  | 0.96834 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:39 |  |  | 0.94349 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:39 |  |  | 0.95759 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:40 |  |  | 0.9079 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:40 |  |  | 0.86513 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:41 |  |  | 0.88422 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:41 |  |  | 0.88145 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:42 |  |  | 0.89728 |  |  |  | 1018.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:43 |  |  | 0.85591 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:43 |  |  | 0.83022 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:44 |  |  | 0.83554 |  |  |  | 1018.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:52 |  |  | 0.65673 |  |  |  | 1018.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0 | Power Up
2021-01-28 10:53 |  |  | 0.64361 |  |  |  | 1018.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:53 |  |  | 0.62154 |  |  |  | 1018.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:54 |  |  | 0.64163 |  |  |  | 1018.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:54 |  |  | 0.6676 |  |  |  | 1018.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:55 |  |  | 0.65608 |  |  |  | 1018.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:56 |  |  | 0.6447 |  |  |  | 1018.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:56 |  |  | 0.64978 |  |  |  | 1018.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:57 |  |  | 0.64003 |  |  |  | 1018.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:57 |  |  | 0.67063 |  |  |  | 1018.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:58 |  |  | 0.64438 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:58 |  |  | 0.67748 |  |  |  | 1018.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 10:59 |  |  | 0.67627 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 11:00 |  |  | 0.70458 |  |  |  | 1018.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0