## Monitor Setup
Postition | Name | Used/Not Used | Sample Integration Time
A | Formaldehyde | No | 1
B | Carbon dioxide | No | 1
C | Sulphur Hexaflouride | Yes | 1
D | Freon 134a | No | 1
E | Methane | No | 1
W | Water Vapour | No | 1
Compensate for Water vapour interference |  | Yes
Compensate for Cross interference |  | No
Flushing Mode | Auto | Yes
Flushing Mode | Fixed | No
Tube Length |  | 2 | m
Chamber | Flushing time | 8 | sec
Tube | Flushing time | 3 | sec
Rolling Average Enabled |  | No
Rolling Average Value

## Channel 1 Measurement Data
Channel 1 Measurement Data | Measurement Location : Location1
Date & Time | A: Formaldehyde(ppm) | B: Carbon dioxide(ppm) | C: Sulphur Hexaflouride(ppm) | D: Freon 134a(ppm) | E: Methane(ppm) | W: Water Vapour(Tdew) | P : Pressure (mbar) | FilterAAlignmentErrorFlag | FilterBAlignmentErrorFlag | FilterCAlignmentErrorFlag | FilterDAlignmentErrorFlag | FilterEAlignmentErrorFlag | FilterWAlignmentErrorFlag | AirFlag | ErrorFlag | WarningFlag | MuxErrorFlag | MuxWarningFlag | MuxErrorNumber | MuxWarningNumber | User Event | Flags
2021-01-28 12:49 |  |  | 31.5134 |  |  |  | 1015.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:50 |  |  | 26.7456 |  |  |  | 1015.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:51 |  |  | 23.6297 |  |  |  | 1015.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:51 |  |  | 28.5441 |  |  |  | 1015.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:52 |  |  | 27.5856 |  |  |  | 1015.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:52 |  |  | 24.9752 |  |  |  | 1015.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:53 |  |  | 38.264 |  |  |  | 1015.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:54 |  |  | 42.2331 |  |  |  | 1015.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:54 |  |  | 34.4531 |  |  |  | 1015.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:55 |  |  | 34.5388 |  |  |  | 1015.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:55 |  |  | 38.0335 |  |  |  | 1015.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:56 |  |  | 49.2472 |  |  |  | 1015.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:56 |  |  | 24.379 |  |  |  | 1015.7 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:57 |  |  | 28.4419 |  |  |  | 1015.6 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:58 |  |  | 26.2598 |  |  |  | 1015.6 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:58 |  |  | 14.9807 |  |  |  | 1015.6 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:59 |  |  | 17.4785 |  |  |  | 1015.6 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 12:59 |  |  | 7.6039 |  |  |  | 1015.6 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:00 |  |  | 1.1885 |  |  |  | 1015.6 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:00 |  |  | 1.3277 |  |  |  | 1015.6 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:01 |  |  | 0.22763 |  |  |  | 1015.5 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:02 |  |  | 0.44465 |  |  |  | 1015.5 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:02 |  |  | 0.14733 |  |  |  | 1015.5 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:03 |  |  | 0.51382 |  |  |  | 1015.5 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:03 |  |  | 0.075631 |  |  |  | 1015.4 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:04 |  |  | 0.039977 |  |  |  | 1015.4 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:05 |  |  | 0.03164 |  |  |  | 1015.4 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:05 |  |  | 0.029896 |  |  |  | 1015.4 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:06 |  |  | 0.038976 |  |  |  | 1015.4 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:06 |  |  | 0.036527 |  |  |  | 1015.4 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:07 |  |  | 0.032676 |  |  |  | 1015.3 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:07 |  |  | 0.021485 |  |  |  | 1015.3 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:08 |  |  | 0.031835 |  |  |  | 1015.3 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:09 |  |  | 0.02932 |  |  |  | 1015.3 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:09 |  |  | 0.024926 |  |  |  | 1015.3 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:10 |  |  | 0.025534 |  |  |  | 1015.3 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:10 |  |  | 0.026756 |  |  |  | 1015.3 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:11 |  |  | 0.033139 |  |  |  | 1015.2 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:12 |  |  | 0.037045 |  |  |  | 1015.2 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:12 |  |  | 0.01623 |  |  |  | 1015.2 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:13 |  |  | 0.022637 |  |  |  | 1015.2 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:14 |  |  | 0.03287 |  |  |  | 1014.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:14 |  |  | 0.0275 |  |  |  | 1015.1 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:15 |  |  | 0.019262 |  |  |  | 1015.1 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:16 |  |  | 0.028073 |  |  |  | 1015.2 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:16 |  |  | 0.021573 |  |  |  | 1015.1 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:17 |  |  | 0.023887 |  |  |  | 1015.2 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:17 |  |  | 0.023738 |  |  |  | 1015.2 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:18 |  |  | 0.017546 |  |  |  | 1015.1 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:18 |  |  | 0.083354 |  |  |  | 1015.1 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:19 |  |  | 0.019735 |  |  |  | 1015.1 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:20 |  |  | 0.025942 |  |  |  | 1015.1 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:20 |  |  | 0.021268 |  |  |  | 1015.1 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:21 |  |  | 0.025362 |  |  |  | 1015 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:21 |  |  | 0.14019 |  |  |  | 1015 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:22 |  |  | 0.060624 |  |  |  | 1015 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:22 |  |  | 0.054183 |  |  |  | 1015 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:23 |  |  | 0.17752 |  |  |  | 1015 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:24 |  |  | 0.27857 |  |  |  | 1015 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:24 |  |  | 0.079616 |  |  |  | 1015 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:25 |  |  | 0.042905 |  |  |  | 1015 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:25 |  |  | 0.03667 |  |  |  | 1014.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:26 |  |  | 0.30865 |  |  |  | 1014.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:27 |  |  | 0.26319 |  |  |  | 1014.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:27 |  |  | 0.2831 |  |  |  | 1014.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:28 |  |  | 0.06358 |  |  |  | 1014.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:28 |  |  | 0.068674 |  |  |  | 1014.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:29 |  |  | 0.041207 |  |  |  | 1014.9 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:30 |  |  | 0.027446 |  |  |  | 1014.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:30 |  |  | 0.0319 |  |  |  | 1014.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:31 |  |  | 0.026303 |  |  |  | 1014.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:31 |  |  | 0.031599 |  |  |  | 1014.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:32 |  |  | 0.019307 |  |  |  | 1014.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:32 |  |  | 0.021703 |  |  |  | 1014.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:33 |  |  | 0.019173 |  |  |  | 1014.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
2021-01-28 13:34 |  |  | 0.026153 |  |  |  | 1014.8 |  |  | FALSE |  |  |  | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0
[14 empty] | FALSE | FALSE | TRUE | FALSE | FALSE | 0 | 0